Addendum

Q & A

Q. Does the Annex Transfer Switch need to be automatic or Manual?

A. Automatic

Q. Will we need to remove the old generator at Station 33?

A. No, we will remove the old generator and supply a new propane tank.

Q. Where will the generator need to go for Station 34 & Station 24?

A. Behind the building